## Slide 1
B-physics: LHCb
SAC report 2017 – M.Merk
1) Group 2) Velo 3) Main Tracker 4) HLT 5) Physics
Notes: Long term involvements Velo, Main tracker, HLT. Project leadership OT, HLT and Velo in the past. Significant investments upgrade. Physics active: physics coordinator. Probably run coordinator coming two years. Central role in collab. Profit from collab with Nikhef flavour theory.

## Slide 2
Motivation and Vision:
• Nikhef joined LHCb to make large impact in LHC experiment.
– Focus on tracking: detector, reconstruction, analyses.
• LHCb is sensitive to physics (far) above LHC energy.
– Detector works very well.
• Group members work on both detector and analysis.
• Students have good possibilities to publish their own analysis.
B-physics: LHCb
SAC report 2017 – M.Merk
1) Group 2) Velo 3) Main Tracker 4) HLT 5) Physics
Notes: Long term involvements Velo, Main tracker, HLT. Project leadership OT, HLT and Velo in the past. Significant investments upgrade. Physics active: physics coordinator. Probably run coordinator coming two years. Central role in collab. Profit from collab with Nikhef flavour theory.

## Slide 3
Conclusions:
• Wide physics program with tantalising flavor results.
• Detector ready for 2017 run.
• Upgrade projects critical phase; senior manpower re-inforcement.
• Ask Nikhef management for help to revive Groningen position.
• Funding successes for Postdoc & PhD manpower.
B-physics: LHCb
SAC report 2017 – M.Merk
1) Group 2) Velo 3) Main Tracker 4) HLT 5) Physics
Notes: Long term involvements Velo, Main tracker, HLT. Project leadership OT, HLT and Velo in the past. Significant investments upgrade. Physics active: physics coordinator. Probably run coordinator coming two years. Central role in collab. Profit from collab with Nikhef flavour theory.

## Slide 4: 1) LHCb group @ Nikhef: Phase-1 & Phase-2
LHCb Programme-1:
1999-2014
Group composition:
10 staff, 3 postdoc, 9 PhD.
University partner: VU
Investment in LHCb:
4.950 M€ (9% LHCb)
Additional Funding:
2 Vidi’s, 1 FOM/v, 2 Project
LHCb Programme-2:
2015-2021
Group composition:
”8–” staff, 2+ postdoc, 7+ PhD.
University partner: VU, RuG
Investment in LHCb:
3.2 M€ (7% LHCb)
Additional Funding:
2 Vici, 1 Vidi, 1 Infieri, 1 Project
Analyses:
 Tracking
 CP violation
 Rare Decays
Detectors:
 Velo, OT, HLT
Notes: Structural funding (Staff + FOM programme reducing at 25% level), even though new group (RuG Van Swinderen Institute) joined.
Also overall investement in LHCb upgrade reduced proportionally).
Many funding attempts but very little success in additional (personal funding schemes) – main worry!

## Slide 5: LHCb Schedule and long term plan
2019 | 2020 |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 203+
 |  |  | Run III |  |  |  |  |  | Run IV |  |  |  |  |  | Run V | 
LS2 |  |  |  |  |  |  | LS3 |  |  |  |  |  | LS4 |  |  | 
LHCb 40 MHz UPGRADE |  |  | L = 2 x 1033 |  |  | LHCb Consolidation |  |  |  | L = 2 x 1033 50 fb-1 |  |  | LHCb Ph II UPGRADE |  | L = 2 x 1034 300 fb-1 | 
ATLAS Phase I Upgr |  |  | L = 2 x 1034 |  |  | ATLAS Phase II UPGRADE |  |  |  | HL-LHC L = 5 x 1034 |  |  | ATLAS |  | HL-LHC L = 5 x 1034 | 
CMS Phase I Upgr |  |  | 300 fb-1 |  |  | CMS Phase II UPGRADE |  |  |  |  |  |  | CMS |  | 3000 fb-1 | 
Belle II |  |  | 5 ab-1 | L = 8 x 1035 |  | 50 ab-1 |  |  |  |  |  |  |  |  |  | 
LHC schedule: Frederick Bordry, Jun 2015
Long Term Plan: make large steps in Lumi:
Run I + II : L = 4 x 1032 cm-2 s-1 : collect 3+5 fb-1
On schedule
Run III + IV : L = 2 x 1033 cm-2 s-1 : collect 50 fb-1
Phase-1 Upgrade fully funded
Run V : L = 2 x 1034 cm-2 s-1 : collect 300 fb-1
Phase-2 upgrade “EoI” prepared for next LHCC

## Slide 6: LHCb Upgrade Investment: Velo, SciFi and HLT
Cost: 57 MCHF; MoU Nikhef: 1920 kCHF (Scifi) + 1320 kCHF(Velo) + 676 kCHF (CF)
Notes: 4 MEuro investment fund 80% committed.

## Slide 7: Nikhef Group Activities
Rare Decays: Bs,dmm, LFV:
A. Pellegrino, G. Onderwater, F. Archilli,
M. Mulder, M. v. Veghel
4s
CP violation(angle fs): BsJ/yf, J/yKs, ff:
G. Raven, P. Koppenburg, S. Benson,
V. Syropoulos, K. Govorkova
CP violation (angle g): BDsK:
N. Tuning, M. Merk, L. Bel
Semi-leptonic decays: asld, asls, RD* :
J. v. Tilburg, H. Wilschut, G. Ciezarek, J. de Vries, L. Dufour
Long-lived particles:
W. Hulsbergen, E. Dall’Occo
Vertex Detector:
W. Hulsbergen, M. v. Beuzekom, E. Jans, P.Koppenburg, F. Archilli, E. Dall’Occo
Main Tracker:
A. Pellegrino, N.Tuning, J. v. Tilburg, G.Ciezarek, J. de Vries, L. Dufour, L Bel, M. Mulder
High Level Trigger:
G.Raven, S. Benson, V. Syropoulos, M.v.Veghel

## Slide 8: Good News and Worries
Funding PhD’s & Postdocs:
Reduced resources of previous years recovered by new grants:
Vici Hulsbergen : “Long-lived massive particles”
Vici Tuning : “Time dependent CP Violation”
Projectruimte Fleischer & Merk : “B(s)  𝜇+𝜇–”
Marie Curie Benson : “Trigger & B decays to neutrals”
Notes: Vici Tuning: 1) BsDs Ds (phi_s) 2) BsDsh (gamma and Afs) 3) 4)SciFi + SiPM
Vici Hulsbergen: 1) long-livedjets 2) l.l. (same sign) muon+jets 3) l.l. di-muons 4) Velo upgrade
Structural funding (Staff + FOM programme reducing at 25% level), even though new group (RuG Van Swinderen Institute) joined.
Also overall investement in LHCb upgrade reduced proportionally).
Many funding attempts but very little success in additional (personal funding schemes) – main worry!

## Slide 9: Good News and Worries
Detector Projects:
SciFi: A.P. (also OT running, Very Rare decays)
VeloPix Mechanics: W.H. (also Velo running, Vici)
VeloPix Electronics: M.v.B. (also Grav waves, R&D)
HLT upgrade: G.R. (also computing, LepCol)
Running OT: N.T. (also Run coordinator, Vici)
Running Velo: P.K. (also physics), W.H.
Running HLT: G.R. & G.O. (also LFV,)
Senior staff LHCb group reduced:
Retired: E.J., T.K., H.W.
Changes: J.vT., H.S., G.R. (0.6), MvB (0.x)
Notes: Hans Wlischut
Vici Tuning: 1) BsDs Ds (phi_s) 2) BsDsh (gamma and Afs) 3) 4)SciFi + SiPM
Vici Hulsbergen: 1) long-livedjets 2) l.l. (same sign) muon+jets 3) l.l. di-muons 4) Velo upgrade
Structural funding (Staff + FOM programme reducing at 25% level), even though new group (RuG Van Swinderen Institute) joined.
Also overall investement in LHCb upgrade reduced proportionally).

## Slide 10: Good News and Worries
Detector Projects:
SciFi: A.P. (also OT running, Very Rare decays)
VeloPix Mechanics: W.H. (also Velo running, Vici)
VeloPix Electronics: M.v.B. (also Grav waves, R&D)
HLT upgrade: G.R. (also computing, LepCol)
Running OT: N.T. (also Run coordinator, Vici)
Running Velo: P.K. (also physics), W.H.
Running HLT: G.R. & G.O. (also LFV,)
Senior staff LHCb group reduced:
Retired: E.J., T.K., H.W.
Changes: J.vT., H.S., G.R. (0.6), MvB (0.x)
Upgrade projects under tension:
Ask for help during 2017 - 2021
Groningen group sub-critical:
Try to revive Groningen position
All senior group members contribute to hardware.
Notes: Vici Tuning: 1) BsDs Ds (phi_s) 2) BsDsh (gamma and Afs) 3) 4)SciFi + SiPM
Vici Hulsbergen: 1) long-livedjets 2) l.l. (same sign) muon+jets 3) l.l. di-muons 4) Velo upgrade
Structural funding (Staff + FOM programme reducing at 25% level), even though new group (RuG Van Swinderen Institute) joined.
Also overall investement in LHCb upgrade reduced proportionally).

## Slide 11: 2) Velo: Run-1 & Run-2
Nikhef contributions:
Vessel mechanics & vacuum control
Cooling & maintenance
Vacuum encapsulation: “RF box”
Detector Open-Close system
Electronics: Beetle chip
PileUp detectors (40 MHz)
 99% channels work
 sPV(x,y)=10mm, sPV(z)=60mm
 Radiation damage as expected…
p – p
Pb-Pb
Notes: Nikhef large contrbutions. Velo operating well. Even working well in Pb-Pb data taking.

## Slide 12: Velo Radiation damage
• LHCb sensors most irradiated Si at LHC
• Monitor Depletion Voltage with HV scan
• Observed efficiency loss inner region.  Raise HV to 300 V.
MPV ADC count
Voltage
Effective depletion voltage [V]
fluence
Notes: What is the maximum HV, 500 V?

## Slide 13: Velo Upgrade
A) Module design & construction
Dropped responsibilities:
 CO2 cooling
 Vacuum control
B) Electronics: VeloPix chip
C) Vacuum Envelope (“RF-box”)
Upgrade:
 Pixel Detector
 Closer to beam
Notes: Upgrade is from strip to pixel, closer to beam. RF foil at 3.5 mm, Si at 5 mm, now 8 mm). Major projects: module (with Manchester), VeloPix (with CERN), RF-box (with CERN).
VeloPix chip submission “now”, Module – temperature/deformations measurements, RF-box having fun.
Some activities ended.

## Slide 14: Module Production
Bare module jig
jig production
Mechanical validation
Module production
J. v. Dongen, W. Hulsbergen, M. v. Overbeek, E. Jans, K. de Roo, E. Roeland, F. Sanders
Notes: Machine for module being used from in-house equipment. Gluing dispenser bought.

## Slide 15: Module Issue: Cooling Substrate
“Plan A”
“Plan B”
“Plan Z”
• 500 mm Si substrate with
microchannel cooling
• Least material
• Best cooling performance
• Delicate handling
• Expensive
• 1 mm ceramic with
0.65mm st. steel tubes
• More material
• Gluing tubes in grooves?
• Less handling risks
• Cheap
• 3d-printed Titanium
with 500 mm channels
• No insulating midplate:
material budget ~ plan A
• Unproven cooling perf.
• Cheap, easy handling

## Slide 16: Alternatives for microchannel cooling
“Plan B” : Oxford
“Plan Z” : Nikhef
Both options still require some R&D:
• Cooling and Mechanical behaviour
Need to converge urgently
Module production schedule very tight

## Slide 17: VeloPix Chip
• VeloPix characterization going well:
– Chip so-far meets requirements
– Radiation hardness is sufficient
• Second submit scheduled in July:
– Fix single event upsets
– Jitter in high speed transmission
– Clean up clock signals
Specs | TimePix3 | VeloPix
Readout | ToT | binary
Power | < 1 W cm-2 | < 1.5 W cm-2
Pixel | 55 x 55 mm2 | 55 x 55 mm2
Rad hard | ? | 400 MRad
Hit Rate | 80 Mhits/s/ASIC | 900 Mhits/s/ASIC
Technoloy | 130 nm CMOS | 130 nm CMOS
M. v. Beuzekom, E. Dall’Occo,
B. v.d. Heijden, H. Boterenbrood, F. Schreuder, G. Visser

## Slide 18: Sensor Characterization with Beamtests
M. v. Beuzekom, E. Dall’Occo,
H. Snoek, P. Tsopelas
Efficiency
• Beamtests:
– TimePix3: Extensive tests at CERN:
➢ Charge collection
➢ High Voltage tolerance
➢ Resolution
➢ Efficiency
➢ Irradiation
– VeloPix: High speed tests at Fermilab
currently ongoing.
Notes: Lots of studies with prototype pixel detectors using TimePix3 chip. 200 micron chip.
Radiation effects. Hamamatsu vs Micron.

## Slide 19: Vacuum Envelope “RF-Box”
VELO
vessel
primary
vacuum
secondary
vacuum
RF box
M. Doets, W. Hulsbergen, T. Ketel, B. Munneke, K. de Roo, W. Kuilman, J. Kos
Vacuum Envelope:
• Complicated shape (minimize mult.scat.)
• Milled from massive AlMg alloy block
• Close to beam: 3.5 mm
• Vacuum tight
• RF-wake fields
• Thickness: two step procedure:
– First 0.5 mm, then 0.25 mm box
Notes: RF box.

## Slide 20: Vacuum Envelope “RF-Box”
W. Hulsbergen, T. Ketel,
W. Kuilman, J. Kos
Design
First 0.5 mm box
Vacuum Envelope:
• Complicated shape (minimize mult.scat.)
• Milled from massive AlMg alloy block
• Close to beam: 3.5 mm
• Vacuum tight
• RF-wake fields
• Thickness: two step procedure:
– First 0.5 mm, then 0.25 mm box

## Slide 21: Velo Project Status
Module construction:
• Preparations ongoing at Nikhef, very tight time-schedule
• Cooling substrate decision urgently required
• Module EDR June 2017(?), Module PRR Dec 2017
RF-box:
• 0.5 mm box completed
• proceed to 0.25 mm box
VeloPix ASIC:
• Submit-2 in June 2017
• Close to critical time-path

## Slide 22: 3) Outer Tracker: Run-1 & Run-2
Nikhef Contributions:
Long term Project leadership
Frames and Modules construction
Electronics
Installation, commissioning, monitoring
  RT & online T0 calibrations
Resolution studies
Irradiation studies and ageing tests
 99.98% channels work
 Hit resolution < 200 mm
 No radiation damage (!)
Occupancy
# channels
2012 Data
2015 Data
2011 Data
resolution
Online t0
calibration
Drift time residual (ns)
Tracking efficiency
pT (GeV)
Notes: Large involvement in OT straws. So far ageing does not occur. Detector works very well. Pb-Pb occupancy up to 100%.

## Slide 23: Outer Tracker status
Ready for 2017 run (from cosmics):
• Clean drift time spectrum
• 50 out 53460 straws have noise > 1%
Hit resolution within specs:
σx=170 µm (σt=2.4 ns)
Perhaps sensitivity for T.o.F. PID for
low p tracks (σtof=0.6 ns) ?
T1 TDC
spectrum
T2 TDC
spectrum
T3 TDC
spectrum
T1 hitmap
T2 hitmap
T3 hitmap
N. Tuning, J. de Vries, L. Dufour, A. Pellegrino, G Ciezarek
T.o.F.
PID?
Notes: Questions:
Protons are more energetic than pions!
Pione from D*?
Momentum spetra?

## Slide 24: The OT without IT in front

## Slide 25: SciFi Upgrade Tracker .
2 x 2.5 m
1 Detector:
= 11.000 km fibres
= 128 modules
= 600 k SiPM channels
1 Module:
= 8 fibre mats
= 2 x 16 SiPM
= 2 x 32 Pacific ASICs
= 2 Cold Boxes
1 module

## Slide 26: Tracker Upgrade: Scintillating Fiber Tracker
FE
Electronics
Coldbox
5 [m]
Module
Cabling,
piping etc.
Nikhef Projects:
Electronics
Cold Box (-50o C)
Modules (20%)
C-Frame & cabling
Digitization software
Elect: A. Berkien, W. Gotink, H Verkooijen, C. Ietswaard,
M. van der Kraats, W. Vink
Mech: R. Walet, M. Jaspers, L. Veldt, H. Kok, H. Band, R. Buis, F. Kayzel, B. Munneke, M. v. Overbeek
Soft: F. Schimmel, J. de Vries
Notes: Scintillating Fibre Tracker, 2.5 m long fibres read out by silicon photomultipliers at the edge of the acceptance.
SiPM’s hamamatsu. Fibers Kururai. Fiber thickness fluctuations acceptable.
Our projects: FE-Electronics: master board and (Clermont Ferrand cluster board).
Coldbox to keep the SiPMs at -50oC. Central modules = 20%

## Slide 27: Module End = Frontend + Coldbox
Pacific
Clusterization
Master
SiPM & Flex cables
Cold box
Behind schedule
Tight schedule

## Slide 28: Cold box tests .
Julabo Chiller
Novec Loop
Cooling Control
QuarosControl
ColdBox
Vacuum Manifold (~10-6)
Vacuum Pump
Tset value controlled here
Do we need humidity management inside coldbox?

## Slide 29: Some Impressions from Pre-Series Production

## Slide 30: Module production preparation
Nikhef site being prepared for production of the center modules (20%)

## Slide 31: Overall SciFi project status
 | R&D | proto | pre-series | series | On schedule
Fibres |  |  |  |  | 
Mats |  |  |  |  | 
Modules (N) |  |  |  |  | 
SiPM |  |  |  |  | 
Flex cable |  |  |  |  | 
Cold box (N) |  |  |  |  | 
Pacific ASIC |  |  |  |  | 
FEE (N) |  |  |  |  | 
Frames (N) |  |  |  |  | 
50%
10%
25%
• Very tight schedule with several delays.

## Slide 32: 4) High Level Trigger: Run-2 and Upgrade
LHCb Run II
HLT @ 1 MHZ
LHCb Upgrade 2021
HLT @ 30 MHZ
Notes: From run-1 to run-2 prepare the software HLT. Include online calib. 5kHz12.5 kHz. Work on framework, implementaion of algorithms and a lot of optimizations. Gerhard’s quote of saving money.

## Slide 33: High Level Trigger: Toward Upgrade
Run-1:
Run-2:
Nikhef Contributions:
• “Turbo” trigger lines:
– Save only signal tracks to disk; no re-reconstruction
– About 50% triggers in turbo (e.g. charm program not possible without turbo)
• Code optimization and parallelization:
– Gaudi::Functional framework
K. Govorkova, S. Benson, G. Raven
Run-3:
Notes: From run-1 to run-2 prepare the software HLT. Include online calib. 5kHz12.5 kHz. Work on framework, implementaion of algorithms and a lot of optimizations. Gerhard’s quote of saving money.

## Slide 34: 4) High Level Trigger: Toward Upgrade
Nikhef Contributions:
• “Turbo” trigger lines:
– Save only signal tracks to disk; no re-reconstruction
– About 50% triggers in turbo (e.g. charm program not possible without turbo)
• Code optimization and parallelization:
– Gaudi::Functional framework
K. Govorkova, S. Benson, G. Raven
Run-3:
34
Reconstruction program
being implemented and
tested
Multi-job (memory!!)
Multi-thread
Upgrade preparations (collaborate with PDP group):
Notes: From run-1 to run-2 prepare the software HLT. Include online calib. 5kHz12.5 kHz. Work on framework, implementaion of algorithms and a lot of optimizations. Gerhard’s quote of saving money.

## Slide 35: 5) Physics Exploitation: Run-1
LHCb sees “flavour puzzles”.
Nikhef large involvement in Run-1
Good students can play major role!
Excited about Run-2
Well positioned with expertise
Postdoc & PhD funding established
angle g
angle fs
Bd,s0  m+m-
BD*tn/BD*mn
asls and asld
v-pion search
Notes: Well positioned in time-dependent CP violation: phi_s mixing phase and angle gamma (DsK). Large involvement with Bmumu, also in comb paper with CMS. Our students were involved in normalisation and in combination PDF. BD*tau nu our postdoc. A_sl^s done, our student comm author.

## Slide 36: Plan for Run-2 Physics Projects
Time dependent CP Violation
Trees: BsDsK (CKM angle 𝛾)
Box: BsJ/𝜓𝜙, B(s)D(s)D(s) (phase φs)
Penguins: Bs 𝜑𝜑 (SM=0)
Funding: Program + Vici
Very Rare decays
B(s)µ+µ– (Bd/Bs ratio)
B(s)e+e– (enhanced (pseudo)scalars)
B(s)eµ, ... (Lepton Flavor Violation)
Funding: Program + projectruimte
Long-lived particles in Higgs decays
l.l.jets (Hidden Valley)
l.l. µ + jets (SUSY, R.H. neutrinos)
l.l. µ+µ– (dark photons)
Funding: Vici
Semileptonics
aSLs, aSLd (CPV in mixing)
RD*, RD (Lepton Universality)
Double-double ratios R(DK) (Lep Univ)
Funding: Vidi
Under group discussion - maintaining focus and expertise on tracking:
(Re-) invest in track reconstruction tasks for Run-2 analysis to improve performance?
Momentum reconstruction, Electron reconstruction, Magnet field extrapolation
 Continue to exploit collaboration with Nikhef flavor theory.
Each project: 1-2 staff, 1-2 postdocs, 3-4 PhD’s
See backup slides for details
Notes: Note that some sub-projects are long term (collect statistics) and don’t require continuous 100% FTE.

## Slide 37: Excitement in Flavor: Rare Decays: b  s m+m–
JHEP 06 (2014) 133
JHEP 06 (2014) 133
JHEP 06 (2014) 133
JHEP 11 (2016) 47
JHEP 09 (2015) 179
JHEP 06 (2015) 115
Branching fractions related to b  s m+m– transition consistently lower than predicted.

## Slide 38: In addition P5’, RD, RD*, RK, RK*  LFNU?
4s
P’5
2.8 s, 3.0 s from SM
2.6 s
2.3 s
2.5 s

## Slide 39
Conclusions:
• Wide physics program with tantalising flavor results.
• Detector ready for 2017 run.
• Upgrade projects critical phase; senior manpower re-inforcement.
• Ask Nikhef management for help to revive Groningen position.
• Funding successes for Postdoc & PhD manpower.
B-physics: LHCb
SAC report 2017 – M.Merk
1) Group 2) Velo 3) Main Tracker 4) HLT 5) Physics
Notes: Long term involvements Velo, Main tracker, HLT. Project leadership OT, HLT and Velo in the past. Significant investments upgrade. Physics active: physics coordinator. Probably run coordinator coming two years. Central role in collab. Profit from collab with Nikhef flavour theory.

## Slide 40: Backup Information
Physics Projects

## Slide 41: CPV-1: Bs mixing and CKM angle g with BsDsp/K
CP angle g with BsDsK :
L. Bel,
M. Merk,
M. Mulder,
N. Tuning
γ
Bs mixing frequency with BsDsp :
CPV in Tree:
Notes: Angle gamma via tim-depandent analysis of BsDs K

## Slide 42: CPV-2: Bs Mixing Phase js with BsJ/y f
js
Mass spectrum
S. Benson, K. Govorkova, P. Koppenburg,
G. Raven, V. Syropoulos,
2011 + 2012 data: 3 fb-1
Penguin control
CPV in Box:
Notes: Phi_s mixing phase and penguin control via BsJ/psi Ks

## Slide 43: CPV-3: Semileptonic Asymmetries
M(KKp) MeV
D-K-K+p-
Ds-K-K+p-
G. Ciezarek, L. Dufour, J.v.Tilburg, J.de Vries
asls
asld
+ Test for CPT violation:
M.v.Veghel,
J. v. Tilburg
Notes: CP violation in mixing a_sl^d and a_sl^s. Also tests for Lorentz violation from mixing B-mixing.

## Slide 44: Semileptonics RD* : LFNU?
Eg. LFNU:
Upcoming:
• D in additon to D*
• Hadronic tau decays
• Double-double RDK?
BD*𝜏𝜈
BD*𝜇𝜈

## Slide 45: Very rare decays: Bs,d  m+m-

## Slide 46: Very rare decays: Bs,d  m+m-
Run 1:
 BR Normalisation using
fragmentation ratio fs/fd
 Background Model
 CMS & LHCb combination
Run 2:
• B0m+m- / Bs0 m+m-
• Effective lifetime
• Groningen: LFV: B(s)em
• Benson: B𝛾𝛾
• Considering: B(s)e+e–
F. Archille, M. Mulder,
G. Onderwater, A. Pellegrino,
M. v Veghel, m. Merk

## Slide 47: Long-lived particle search: v-pions and Majorana neutrino’s
P. David, V. Heijne, W. Hulsbergen
i) Limit for “v-pions” with low mass and short lifetime
μ
μ
W
νμ
νμ
q
q’
N
W. Hulsbergen. E. Dall’Occo
Displaced vertices
ii) Search for 5 – 50 GeV neutrinos in decay of real W
GeV scale Majoranas: two same sign muons and a jet
Veto backgrounds from conversions

## Slide 48: LHCb and Vista25

## Slide 49: Flavour Physics
Flavour Puzzles:
 Why are there three particle generations?
 What explains masses and interaction strengths?
 New particles and sources of CP Violation?
LHCb: Studies physics beyond TeV scale.
Track record of indirect discoveries:
K0mm: charm prediction GIM
CPV KL0pp: 3rd generation
B-mixing: large top-mass
EW Z-physics: H mass prediction

## Slide 50: The Precision Frontier
Large potential to study Beyond SM physics: B-physics, Charm, EDM’s, Kaons, g-2, …
Nikhef + VU + RuG have unique opportunity for coherent precision flavour program!
W. Altmannshofer
Coll. Aspen, 2014

## Slide 51: LHCb Schedule and long term plans
2019 | 2020 |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 203+
 |  |  | Run III |  |  |  |  |  | Run IV |  |  |  |  |  | Run V | 
LS2 |  |  |  |  |  |  | LS3 |  |  |  |  |  | LS4 |  |  | 
LHCb 40 MHz UPGRADE |  |  | L = 2 x 1033 |  |  | LHCb Consolidation |  |  |  | L = 2 x 1033 50 fb-1 |  |  | LHCb Ph II UPGRADE |  | L = 2 x 1034 300 fb-1 | 
ATLAS Phase I Upgr |  |  | L = 2 x 1034 |  |  | ATLAS Phase II UPGRADE |  |  |  | HL-LHC L = 5 x 1034 |  |  | ATLAS |  | HL-LHC L = 5 x 1034 | 
CMS Phase I Upgr |  |  | 300 fb-1 |  |  | CMS Phase II UPGRADE |  |  |  |  |  |  | CMS |  | 3000 fb-1 | 
Belle II |  |  | 5 ab-1 | L = 8 x 1035 |  | 50 ab-1 |  |  |  |  |  |  |  |  |  | 
LHC schedule: Frederick Bordry, Jun 2015
Long Term Plan: make large steps in Lumi:
Run I + II : L = 4 x 1032 cm-2 s-1 : collect 3+5 fb-1
On schedule
Run III + IV : L = 2 x 1033 cm-2 s-1 : collect 50 fb-1
Phase-1 Upgrade fully funded
Consolidation plans becoming concrete
Run V : L = 2 x 1034 cm-2 s-1 : collect 300 fb-1
Phase-2 upgrade “EoI” prepared for next LHCC

## Slide 52: LHCb’s “No-lose Theorem” for Future
LHCb will provide order of magnitude improvements in:
Precision measurements on fundamental couplings,
Mass range for searches for new particles or forces beyond LHC energy scale.
LHCb complements B-physics with:
Charm and Strange physics
Electroweak (W,Z physics)
Central Exclusion Production physics
Spectroscopy and Quarkonia (tetra-q/penta-q)
Heavy Ion Physics
LHCb will:
Publish 50++ publications/year
Give high visibility for students: ~ 2 publications+conf’s for our PhD students.
LHCb will continue to develop state-of-the-art technology
Upgrade: 40 MHz event-rec, VeloPix m-channel cooling, SciFi with SiPM at -40oC,
Allowing students to work on challenging hardware and analysis.