## Slide 1: Welcome to Nikhef
David Groep
May 2024
Introduction to Nikhef and the NikhefHousing Data Centre

## Slide 2
Our world, made of particles and fields
Collider physics
Phenomenology
Astroparticle physics
Technology R&D
Notes: not on slide but important: concentrates all NL HEP infrastructure
machine shop, designers, ICT

## Slide 3
CMS
ATLAS
ALICE
LHCb
CERN – Europe’s laboratory for high-energy physics
Imagery: CERN, European Organisation for Nuclear Research
Atlas

## Slide 4
Image sources:
Nikhef, NIOZ, KM3NET collaboration

## Slide 5
www.et-emr.eu!
Einstein Telescope projected in the EMR region, image: Marco Kraan GW150914 event: gw-astronomy collaborations, LIGO

## Slide 6
Data at the Large Hadron Collider at CERN
Peter Higgs and Francois Englert at the 2013 Nobel prize press conference, Stockholm. Photo: Bengt Nyman, https://www.flickr.com/photos/97469566@N00
P. Higgs, Phys. Rev. Lett. 13, 508 16823 characters, 165kByte PDF
~ 50 PiB/year
primary data
1964

## Slide 7
11 global Tier-1 centres for CERN’s LHC
‘NL-T1’ part of the Dutch National Infrastructure coordinated by SURF
located at SURF and Nikhef
shared across research domains: GWIs, WIs, and other instruments
WLCG and Dutch National Infrastructure
Source: NDPF Statistics overview, https://www.nikhef.nl/pdp/doc/stats/ GRISview images: Jeff Templon period: March 2021 .. October 2022; cluster nodes: ‘Lotenfeest’
# jobs

## Slide 8: Distributing data via the network
source: https://monit-grafana.cern.ch/d/000000420/fts-transfers-30-day
2.6M

## Slide 9
Globally distributed computing: federated services
> 170 institutes in > 42 countries & economies
no single administrative control
Computing ~ 2,000,000 cores
On-line disks > 400 PB
Archival > 600 PB

## Slide 10
Service-specific “WiFi” federation trust between organisations, globally
local organization grants access based on your home credentials
There are now multiple such federations,
such as govroam
From a simple federation: eduroam global WiFi …
eduroam: Klaas Wieringa et al., image from https://eduroam.org/how/, GEANT ; RADIUS: RC2865 https://www.rfc-editor.org/rfc/rfc2865; see also freeradius.org

## Slide 11
… to a global service federation for research and education
Images: SURFconext IdP dashboard by SURF, showing some services tagged with REFEDS R&S; eduGAIN map: GEANT, https://technical.edugain.org/status

## Slide 12
When something happens to it: federated incident response
images: AARC Sirtfi v1 exercise (Hannah Short), eduGAIN security TTX (Sven Gabriel, eduGAIN CSIRT); joint with GN5-1 EnCo
Joint operational trust baseline for the global R&E federations
Supplemented by sectoral policy guidance
focus on infrastructure and data integrity, confidentiality, availability
|CSIRT
|

## Slide 13
Security Service Challenges: exercise finding & removing malware and spyware in global collaboration
Screenshots: Oscar Koeroo et al., Nikhef, for EGI SSC5

## Slide 14
Data Centres – housing and connectivity

## Slide 15
Typical data traffic to and from our processing cluster
Source: Nikhef cricket graphs period January 2023 – May 2024 – aggregated (research) traffic to external peers from deelqfx – https://cricket.nikhef.nl/

## Slide 16
Getting to CERN from the Netherlands
See https://personalpages.manchester.ac.uk/staff/m.dodge/cybergeography/atlas/historical.html for more historic maps ; right-hand image: SURFnet2, 1990

## Slide 17
Gould, Sun, and DEC systems,
taking several racks each
500 m2 floor area
Raised floor: +60cm
walls are ‘movable’ to accommodate expansion
The Nikhef data centre – at the end of the 1980s
Nikhef room H1.37 – terminal station on the raised data floor of the computer room (H1.40, behind the glass-panel walls)

## Slide 18
IBR-LAN at Nikhef
International Backbone Router Local Area Network “IBR-LAN” at Nikhef, room H1.40 as seen in 1996. Right: H1.39 with nikhefh.nikhef.nl racks and early DAS-2 system

## Slide 19
A growing internet!
AMS-IX topology, 2002

## Slide 20
LHCone
LHCone (“LHC Open Network Environment”) – visualization by Bill Johnston, ESnet version: October 2022 – updated with new AS1104 links

## Slide 21
Today’s data centre at Nikhef
Nikhef ‘science’ data centre H234b
47 racks and ~350 kW
hosts Nikhef, CERN, GW, and SURF research data
strengthens connectivity at NikhefHousing
‘NikhefHousing’ data centre
from once just 2 racks in a spare space
to now > ~400 racks
many different connectivity parties
connectivity only, but not hosting

## Slide 22
three 400kW active/free cooling chillers installed in 2009
data floor: grown to ~400 racks
additional electricity generator set added in 2009
Aquifer Thermal Energy Storage (ATES) system in 2010
Data centre installation management
Image: Floris Bieshaar, Nikhef

## Slide 23
Power in … and energy out …
Generator image source: Floris Bieshaar. MacGillevrylaan sketch: Science Park Amsterdam
Heat re-use: aquifer thermal energy storage
re-use heat to warm our building (pretty warm) AND feed more heat to student housing opposite
nominal ‘PUE’ ~ 1.21
Three generators
A-Feed 1250 kVA (pictured under load while testing)
B-Feed 1700 kVA
C-Feed 1250 KVA added with the current expansion
Separate redundant UPS for each

## Slide 24
What happens inside a data centre …
No single connectivity data centre is a single point of failure: Internet protocols are engineered to re-route traffic
Yet ‘connectivity’ housing and ‘hosting’ are also quite different
        NikhefHousing (H140) has connectivity parties only, and does not host any content
        what you will be seeing on tour is network equipment, shipping data, but not keeping anything
        (H234b has our science data, only)

## Slide 25
But some are faster than …
Image: Minister of Economic Affairs M. Adriaansens launched the Innovation Hub with Nikhef, SURF, Nokia and NL-ix, January 2023. Composite image from https://www.surf.nl/nieuws/minister-adriaansens-lanceert-testomgeving-voor-supersnelle-netwerktechnologie

## Slide 26
Our science data flows are somebody else’s DDoS attack
Image sources: belastingdienst.nl, rws.nl, nu.nl, werkentegennederland.nl

## Slide 27: Thanks, and enjoy Nikhef

## Slide 28
Getting to CERN
Data: TraceMON IPmap from RIPE NCC Atlas atlas.ripe.net measurement 9249079